## Slide 1: Facility Management/ Hvac
Roger Mooney
Sales Manager, Vasey
rmooney@vasey.com

## Slide 2: introduction
Facility managers face many challenges in the market today. Those challenges are not limited to the “nuts and bolts” of maintaining the HVAC assets within a facility or campus. In this presentation we will cover financial topics we see in the marketplace that surround the nuts and bolts.
Notes: Thank you for joining us today! Feel free to chime in or send questions in the chat section. I can send this presentation to any of you, shoot me an email. We are going to cover the questions we ask in our sales process to determine the buying habits of our prospects. Although these are used in our sales process, we often see that not all these questions can be answered. We feel the ability to answer all these questions is imperative in a facility management role.

## Slide 3: areas to consider
FINANCIAL CONCERNS
There are many financial considerations related to mechanical systems. Identifying these is imperative to be an effective facility manager. We will cover a few today.
OPERATIONAL CONCERNS
Operational concerns vary widely based on the use of the building. We will cover concerns that we hear from our clients and ask how they are related to your situation.
SUSTAINABILITY CONCERNS
Sustainability means something different to everyone. What does it mean in your organization?
EQUIPMENT INVENTORY
Discuss the importance of an equipment inventory and what it should include.
EPA CONCERNS
Discuss the importance of being knowledgeable in the changing laws regarding refrigerant.

## Slide 4: FINANCIAL CONCERNS
Building owned or leased
Age of the facility/related to the HVAC equipment
Expected term of ownership
Impact of HVAC to operation
Future investments
How are investment projects planned/funded
Inventory related to HVAC
Maintenance budget, how is it structured
Funding for major equipment repairs
Who is financially responsible for planning future costs
Contractors are under ever-increasing pressures by ill-informed owners and budget-strapped building managers to lower their PM pricing to accommodate short-term budget requirements.
Notes: Owned or leased should be identified early as it changes your planning. If leased, what are your tenant responsibilities? Ie, repairs over certain amount, equipment replacement agreements……..
Overall age of the HVAC equipment concerns carry through this presentation
You need to know how long you plan on occupying the building, coupled with the age of equipment as it relates to life cycle
Is your product dependent on temperature/humidity conditions? If so, how is this condition maintained, normally more complex than a standard system.
Future investments/building additions factor into your planning.
Funding source for large projects must be identified
An equipment inventory should be used to determine the overall age and monetary risk associated, $2200 - $2600 per ton
How is the budget structured. Repairs/replacement and who makes the approval for these activities
The person financially responsible should be in your camp

## Slide 5: OPERATIONAL CONCERNS
How maintenance is performed
Is there a building automation system
In house staff/training
What contractors are being utilized, how are they vetted
Comfort conditions across the facility
Air quality concerns
History of costs related to the mechanical systems
Notes: What type/scope of maintenance program is in place? If outsourced, when does it expire? What are the cancellation terms? Do you follow them up, quality control?
Building Automation Systems are often proprietary in nature. Who is the servicing agent, what are your options for service agents based on the system you might have?
If you are in house, how are the people trained? What are their skillsets? Do you provide continuing education, pay for certifications? What are the direct and indirect costs associated to being in house? How do you attract new talent?
Understand what vendors are capable of what services to reduce the number of vendors. Are all vendors performing background checks on their employees? Safety records should be reviewed (OSHA MOD Factor).
Poll your people to understand where their comfort levels reside. Uncomfortable employees are not going to perform as well as those who are comfortable.
Does your facility have any air quality concerns, dusty product? How is it being addressed? Is it being addressed?
You should have a good historical reference of repairs to plan replacements proactively. The lead time for parts and equipment is at an all time high. Proactively planning replacements can save down time awaiting equipment deliveries.

## Slide 6: SUSTAINABILITY
Identify any environmentally sensitive areas you may have
Organizational environmental initiatives
Monitoring and recording of maintenance tasks
Energy audits
Excessive or unpredictable energy consumption
Indoor Air Quality initiatives.
Notes: Does your organization handle potentially hazardous materials? How do your systems interact with these materials?
Many companies are looking to reduce their emissions and increase indoor air quality. How does this impact your equipment and what are the capabilities of your equipment? What has your organization done in this regard?
How are maintenance tasks recorded, tasking reports…………?
Does your organization perform energy audits? Are you including your mechanical servicing agent in these conversations?
If you are tracking energy, do you see large fluctuations? If so, can you pinpoint the source in and effort to gain efficiencies?
Does your organization have any initiatives regarding Indoor Air Quality? What is their approach? Is your equipment capable? HEPA/GPS/Outside Air

## Slide 7: EQUIPMENT INVENTORY
Who do you rely on for this information
What information should be included in an inventory
Why is an accurate inventory important
Accurate building blueprints are very important in complex buildings.
Notes: Do you manage your equipment list? If not, why?
Make, Model, Serial, Filter Requirements, Age, Location Serving, Size (tonnage, BTUH), Refrigerant Type/Amount Per Circuit
Accurate inventory helps when identifying a problem, tracking repairs, tracking need for replacement.
An accurate inventory coupled with Accurate blueprints are invaluable to the site manager as well as the servicing contractor.

## Slide 8: EpA CONCERNS
Staff properly certified to handle refrigerant?
Inventory of refrigerant type per circuit per piece of equipment
Educated on the current EPA legislations
https://www.psaworld.org/docs/EPA_608_Regulation_Summary.pdf
https://www.epa.gov/section608/revised-section-608-refrigerant-management-regulations
http://www.epa.gov/section608
Larger requirements for the owner in recordkeeping and recording of refrigerant usage
Notes: I am not a technician and I do not claim to know all the laws. R-22 is being phased out and 410A is next.
If you are in house, is your staff certified and up to speed on all new laws? Do they receive continuing education?
Make certain you have this data for all equipment containing refrigerant.
Get educated on the ever-changing laws surrounding the phasing out of refrigerant. See the links within this slide.
Bottom line, there are new laws on who is responsible. More attention is given to the owners and technicians.

## Slide 9: REVIEW
As you can see, there are many concerns, as it relates to managing your mechanical equipment, aside from the nuts and bolts of cleaning/maintaining your equipment.
It is imperative that you, as the facility manager, own all aspects related to this topic. It is not wise to leave these concerns in the hands of your contractor.
Good article on managing space in 2022: https://www.facilitiesnet.com/buildingautomation/article/5-Technology-Trends-That-Will-Dominate-Facility-Management-in-2022--19496
Notes: Q & A